## Slide 1: Beating the Motion Sensor
An Activity to Explore Material Properties and Lighting Controls

## Slide 2: Lighting Controls
Lighting in buildings = 1/3 of our electricity.
How can we save energy for lighting?
  Turn the electrical lights OFF when there’s enough light from the sun.
  Turn the lights OFF when there’s no one in the room.
Notes: All images on this slide = Microsoft clipart

## Slide 3: Lighting Controls
What is the best way to control the lights?
YOU!
But we’re not all perfect, right?
  Install automatic controls to help with lighting control
Notes: Top, bottom row (left and middle) images on this slide = Microsoft clipart
Bottom right image: http://alexandriava.gov/tes/gbrc/default.aspx?id=46624

## Slide 4: Motion Sensors
Detect when a room is OCCUPIED or EMPTY
Two types of technology:
  Passive Infrared (PIR)
  Ultrasonic
Both types detect when something (or someone) is MOVING
Notes: All images on this slide = Microsoft clipart

## Slide 5: PIR Sensors
See something moving if it is hotter than its background
Notes: This image = Modified Microsoft Clip Art

## Slide 6: Ultrasonic Sensors
See something moving if it changes the way sound is reflected back (Doppler Effect)
Notes: This image = Modified Microsoft Clip Art

## Slide 7: PIR Sensors
Won’t “see” the motion if there is a material that blocks the heat
Notes: This image = Modified Microsoft Clip Art

## Slide 8: Ultrasonic Sensors
Won’t “see” the motion if there is a material that reflects the sound
Notes: This image = Modified Microsoft Clip Art

## Slide 9: Important Interactions
How do materials interact with energy?
REFLECTION
Notes: This image = Created from scratch

## Slide 10
How do materials interact with energy?
TRANSMISSION
Important Interactions
Notes: This image = Created from scratch

## Slide 11
How do materials interact with energy?
ABSORPTION
Important Interactions
Notes: This image = Created from scratch

## Slide 12: Activity
Let’s BEAT the motion sensor!
  BEATING THE SENSOR = If you can move your object in front of the sensor without the light coming on, you beat it.
How do materials used in buildings interact with these sensors?
  Wood
  Metal
  Glass
  Fabric
  Acrylic
  … others?
Heat & sound energy

## Slide 13: As an Architectural Engineer…
You are asked to select occupancy sensors to be used in different types of rooms that have different materials (see below).
  What type of sensor would you select and why? (Using BOTH types together, known as “Dual-Technology” is also an option.)
  Office: Fabric-covered metal cubicle walls
  Warehouse: Metal shelves with wooden crates
  Bathroom: Ceramic tile stall walls with metal doors
  Airport Security: Glass interior walls