- A solar panel is most efficient when it:

  - is placed horizontal and faces directly up into the sky

  - faces directly toward the sun

  - faces north

  - faces south

- A dual-axis tracking system:

  - allows a solar panel to track the sun in both east-west and north-south directions

  - records both current and voltage being generated by a solar panel

  - allows a solar panel to create twice as much power from the sun at all times

  - rells how much power is being generated and how much is being used

- A solar panel outputs its rated voltage at all times.

  - true

  - false

- The device that adjust the circuit to find the maximum power point is called a(n):

  - multimeter

  - transducer

  - inverter

  - dual-axis tracker

- Solar panels become more efficient when they become colder.

  - true

  - false

- The term that describes the sensitivity of a material in a solar panel  to temperature is  the:

  - heating factor

  - ambient temperature

  - temperature coefficient

  - crystalline effect

- What is the best angle at which to place a reflector next to a solar panel?

  - 90°

  - 45°

  - horizontal

  - it depends on the sun’s location

- CPV stands for:

  - Collector Panel View

  - Concentrating Photovoltaic

  - Cooling Panel Vortex

  - Can’t Produce Voltage

# Text boxes

TeachEngineering.org – Free STEM Curriculum for K-12