Leaking Electricity – Fact Sheet

Are your appliances leaking electricity?  Not only do we have more small- and medium-sized appliances than ever before, but many of these never really stop using electricity. For example, if the television has a remote, then part of the TV is always on, waiting for a signal from the remote. If there is a clock on the microwave then the microwave is always using some electricity. Experts call this usage "standby consumption," “phantom load” or "leaking electricity" because people are often not aware that the appliance is using electricity.  One way to tell if your appliance uses standby consumption is if the on/off control buttons are smooth, and respond to your finger’s touch, as opposed to having to turn or push to turn on the appliance.

A single appliance usually leaks only a small amount of electricity each hour, but since these appliances leak electricity whenever they are not turned on, and since people have a lot of these appliances, the amount of leaking electricity is significant.  The average household spends about $40 every year on leaking electricity.  The federal government is working with appliance and manufacturers to reduce the amount of electricity that leaks out of new appliances.

Leaking Watts Chart
Standby Consumption of Some Residential Appliances

| Type of Appliance | Stand by power (watts) |  |  |
| --- | --- | --- | --- |
|  | Min | Avg | Max |
| Air Conditioner | 0.0 | 0.0 | 0.0 |
| Alarm Clock | 0.7 | 1.3 | 2.0 |
| Amplifier | 0.0 | 1.4 | 5.5 |
| Answer Machine | 1.8 | 3.0 | 5.2 |
| Cordless Phone | 2.5 | 2.8 | 3.1 |
| ATX PC | 1.3 | 2.1 | 2.8 |
| Baby Monitor | 0.7 | 1.2 | 1.6 |
| Battery Charger | 0.2 | 1.4 | 3.2 |
| Boom Box | 0.7 | 2.2 | 7.7 |
| Cable Box | 4.8 | 11.6 | 18.0 |
| Cassette Deck | 0.0 | 2.8 | 6.6 |
| CD Player | 0.0 | 3.1 | 8.0 |
| Clock Radio | 0.9 | 1.7 | 3.2 |
| Cordless Phone | 1.1 | 2.7 | 5.0 |
| Dishwasher | 6.4 | 6.4 | 6.4 |
| DSS | 11.3 | 15.0 | 18.4 |
| DVD Player | 1.6 | 4.3 | 7.1 |
| Equalizer | 0.0 | 3.1 | 5.9 |
| Garage Door Opener | 3.5 | 3.8 | 4.0 |
| Internet Appliance | 7.5 | 7.5 | 7.5 |
| Linear Power Supply | 0.3 | 1.3 | 3.2 |
| Macintosh PC | 0.0 | 2.0 | 3.5 |
| Massager | 1.1 | 2.7 | 4.2 |
| Microwave Oven | 1.6 | 3.2 | 6.0 |
| Mini Disc | 4.5 | 4.8 | 5.1 |
|  | Stand by power (watts) |  |  |
| Type of Appliance | Min | Avg | Max |
| Mini Audio System | 1.3 | 9.3 | 28.6 |
| Modem (external) | 1.0 | 1.4 | 1.8 |
| Phone/Fax/Copier Combo | 3.3 | 4.7 | 6.5 |
| Power PC | 1.3 | 1.5 | 1.6 |
| Power Speaker | 0.0 | 1.6 | 3.1 |
| Preamp/Tuner | 1.4 | 2.4 | 3.2 |
| Printer | 3.5 | 3.5 | 3.5 |
| Range | 1.8 | 3.0 | 4.1 |
| Receiver | 0.0 | 1.8 | 5.9 |
| Rice Cooker | 1.5 | 2.0 | 2.5 |
| Security System | 15.0 | 18.3 | 21.5 |
| Shaver | 0.4 | 0.9 | 1.4 |
| Television | 0.0 | 4.3 | 12.3 |
| Tuner | 0.0 | 2.0 | 4.0 |
| TV/VCR Combo | 2.5 | 9.8 | 19.5 |
| Battery-Powered Vacuum Cleaner | 1.7 | 2.1 | 2.6 |
| VCR | 1.5 | 5.6 | 12.8 |
| Video Game | 0.0 | 1.1 | 2.0 |

Adapted from:  http://www.uwsp.edu/cnr/wcee/keep/Mod1/Flow/leaking.htm

Making the Home More Energy Efficient - Fact Sheet

How much do we spend?

An average home spends $1500 on utility bills, but this does not include heating which is on the order of $1000. Heating makes up for almost ½ of the energy use in typical homes, and lighting and cooking makes up for the next largest amount.[7]

Fig 1: Energy use in the home [7].

If one looks just at water usage and the amount of hot water produced, they will see that showers are of highest consideration (See Figure 2.)

ENERGY STAR and EnergyGuide – good alternatives

On the power usage, appliances of greatest usage are that of clothes dryers, refrigerators, and dishwashers (Table 1). ENERGY STAR and EnergyGuide are two manufacturers that utilize energy efficient technology in appliances. For example a refrigerator bought before 1993 requires 2 times the energy as an ENERGY STAR model. By using ENERGY STAR products, some homes could save up to $450 per year, about 30% of the normal energy bill. [4]

Energy Saving Tips

Below are some easy active energy savers. Although they do not seem to have a great impact, if you pair these precautions with some energy efficient appliances your energy bill will decrease. [7]

- Air dry dishes instead of using your dishwasher's drying cycle.

- Use your microwave instead of a conventional electric range or oven.

- Turn off your computer and monitor when not in use.

- Plug home electronics, such as TVs and VCRs, into power strips and turn power strips off when equipment is not in use.

- Lower the thermostat on your hot water heater; 115 degrees is comfortable for most uses.

- Take showers instead of baths to reduce hot water use.

- Wash only full loads of dishes and clothes.

Table 1: Typical Appliance Power Usage [2]

| Common Appliance Power Usage | # of Watts |
| --- | --- |
| Aquarium | 50-1210 |
| Clock radio | 10 |
| Coffee maker | 900-1200 |
| Clothes washer | 350-500 |
| Clothes dryer | 1800-5000 |
| Dishwasher | 1200-2400 |
| Dehumidifier | 785 |
| Electric blanket- Single/Double | 60/100 |
| Fans |  |
| Ceiling | 65-175 |
| Window | 55-250 |
| Furnace | 750 |
| Whole house | 240-750 |
| Hair dryer | 1200-1875 |
| Heater (portable) | 780-1500 |
| Clothes Iron | 1000-1800 |
| Microwave oven | 750-1100 |
| Personal Computer |  |
| CPU - awake / asleep | 120-30 |
| Monitor - awake / asleep | 150-30 |
| Laptop | 50 |
| Radio (stereo) | 70-400 |
| Refrigerator (frost-free, 16 ft3) | 725 |
| Televisions (color) |  |
| 19" | 65-110 |
| 27" | 113 |
| 36" | 133 |
| 53"-61" Projection | 170 |
| Flat Screen | 120 |
| Toaster | 800-1400 |
| Toaster Oven | 1225 |
| VCR/DVD | 17-21 /20-25 |
| Vacuum cleaner | 1000-1440 |
| Water heater (40 gallon) | 4500-5500 |
| Water pump (deep well) | 250-1100 |
| Water bed (w/ heater, no cover) | 120-380 |

Energy Efficient Precautions

There are many ways that people can make their house more energy efficient without having to install a new energy system. Here are some ways purchase ideas that will save energy and cut the cost of your energy bill.

- Weatherization- plugging gaps, stopping air leaks, and insulating maintains comfort levels and reduces amount of heat that leaves home. This includes finding more efficient windows as well.

Space Heating and Cooling- Change to Solar or geothermal heat pump. It reduces the amount sulfur dioxide and nitrogen oxides.

Resources and Sources for Additional Information

- Energy Efficiency and Renewable Energy http://www.eere.energy.gov/consumerinfo/

- National Renewable Energy Laboratory http://www.nrel.gov/

- EERE, “Reducing your Electricity Load,” http://www.eere.energy.gov/consumerinfo/makeelectricity/operate_reduce_eload.html

- EERE, “Energy Savers” http://www.eere.energy.gov/consumerinfo/energy_savers/

- EERE “Energy Solutions Your Building,” http://www.eere.energy.gov/buildings/?flash=yes

- ENERGY STAR, http://www.energystar.gov/

7. EnergyGuide, http://www.energyguide.com/	 Compiled by K. Schillemat, 08/05.

- Compact fluorescent lights- Uses 1/4th the amount of electricity that incandescent lamps use. They also reduce carbon emissions.

- Energy efficient electric appliances – Replace old with modern appliances; look for EnergyGuide and ENERGY STAR labels [6,7].